|  | Planned Activity | Responsibility | Frequency | J | F | M | A | M | J | J | A | S | O | N | D | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lighting | Check interior lighting for faulty lights. | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean interior and exterior lights | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Conduct push button testing on Emergency and Exit lighting. Document test. | Maintenance | Quarterly |  |  |  |  |  |  |  |  |  |  |  |  |  |
| External Buildings | Clean all gutters | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean out sumps, gratings, pits & downpipes | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check brickwork and external timber work | Maintenance | 6 x year |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check concrete and pavers for movement | Maintenance | 6 x year |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cleaning/dusting of corrugated iron | Maintenance | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Pest control tests | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Asbestos signage is clearly displayed | Maintenance | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Backflow prevention devices | Maintenance / Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Stormwater pits | Maintenance | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Plumbing | Carry out visual inspection of taps, sinks, cisterns, toilet pans, urinals and drains | Maintenance | Quarterly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service and clean traps to kitchen sinks and hand basins | Maintenance / Contractor | Quarterly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Change drinking water filters (Pura-Tap / chillers) | Maintenance | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Operate pressure release valves on Hot Water Units | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Grounds | Check condition of fencing and gates | Maintenance | Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Automatic gates service | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service school oval (scarify, fertilize, check for divots) | Maintenance | Quarterly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fertilise lawns | Maintenance | 2 x year |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mow lawns | Maintenance | As required |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Weed and replace flower beds | Maintenance | As required |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check operation irrigation sprinklers, controllers & valves | Maintenance | Spring, summer, autumn |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check and remove low hanging or dead tree branches | Maintenance | 2 x year |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Conduct visual inspection of all buildings and external grounds | Maintenance | Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Arborist assessment conducted on trees | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Electrical | Conduct push button testing on all RCD’s. | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check all electrical outlets for damage | Maintenance | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Conduct 90 minute battery discharge testing on emergency / exit lights | Electrician | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Test & tag all portable electrical equipment | Electrician | As required |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Conduct 2 yearly performance tests on all RCD’s. | Electrician | As required |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Internal Building | Check and service all latches, locks, window winders, hinges and door closers | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check operation of windows and doors | Maintenance | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Curtains and Blinds – check & clean | Maintenance | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Carpet cleaning/replacement | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check Painting / paint as required | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check tiling / repair | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Bi-fold door service | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Automatic door service | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Air-conditioner Fans/ Ventilation | Clean reverse cycle air-conditioner filters | Maintenance | Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean exhaust fans, range-hoods, kilns | Maintenance | Quarterly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clean ventilators | Maintenance | Quarterly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service evaporative air-conditioners pre-season (insert sterilising tablet) | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service evaporative air-conditioners post season shut-down | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service reverse cycle air-conditioners | Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service & performance test fume cupboards | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service Extraction Systems | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Gas / Heating Appliances | Service all gas equipment | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service heating units | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Inspect flues for blockages or damage | Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Check/service boiling water units | Maintenance / Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Safety Plant & Equipment | Servicing of fire extinguishers | Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Servicing of hose reels | Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Servicing of fire blankets | Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Smoke alarm systems | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Smoke control systems | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fire sprinkler system | Contractor | 6 Monthly |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Plant & Equipment | Service lawnmower | Maintenance | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service ride-on mower | Maintenance / contractor | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service tractor | Contractor | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service brush cutter | Maintenance / contractor | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service hedge trimmer | Maintenance / contractor | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service trailer | Maintenance | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service grounds ute | Contractor | Manufacturers recommend. |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Service Lifts (goods & person) | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ADD Additional plant and equipment relevant to your worksite |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| External Fixtures | Anchor points on roof | Contractor | Annually |  |  |  |  |  |  |  |  |  |  |  |  |  |

Planned Activity – Add any activities specific to the work site.

Responsibility – Worksites  may allocate responsibility to administration staff, maintenance staff or contractors according to specific needs and budget.

Completion – On completion, enter the date in the appropriate column and initial. A staff member should complete this form on behalf of Contractors and enter contractor or company name.